The National Government Constituencies Development Fund (NG-CDF)

EMBAKASI EAST NG-CDF

# PROPOSED RE-ROOFING OF 12 NO CLASSROOMS AT EDELVELE PRIMARY SCHOOL - NAIROBI

EEAST/NG-CDF/003/2020-2021

BILLS OF QUANTITIES

OCTOBER 2021

# PROPOSED RE-ROOFING OF 12NO CLASSROOMS AT EDELVELE PRIMARY SCHOOL - NAIROBI

## CONSISTING:

- Contents page	(i)

- Signature and special note page	(ii)

- Particular Preliminaries

- General Preliminaries

- Builder’s works

- Grand Summary	GS/1

(i)

# PROPOSED RE-ROOFING OF 12NO CLASSROOMS AT EDELVELE PRIMARY SCHOOL - NAIROBI

Issued by: -

### The Chairman,

EMBAKASI EAST NG-CDF, P. O. Box 2460 - 00515, NAIROBI.

The contract for the above-mentioned works entered into this ……. Day of	20…. by the

undersigned refers to these Bills of Quantities and the Ministry of Roads and Public Works General Specification date March, 1976 (together with any amendments issued thereto) shall be read and construed as part of the said contract.

………………………………	………………………………………

C O N T R A C T O R	THE CHAIRMAN, EMBAKASI EAST NG-CDF

Date: …………………………	Date: ……………………………

SPECIAL NOTES

The Contractor is required to check the numbers of the pages of these Bills of Quantities and should he find any missing or in duplicate or figures indistinct he must inform the Chairman, EMBAKASI EAST CDF at once and have the same rectified.

Should the Contractor be in doubt about the precise meaning of any item or figure for any reason whatsoever, he must inform the Chairman, EMBAKASI EAST NG-CDF in order that the correct meaning may be decided before the date for submission of tenders.

No liability will be admitted nor claim allowed in respect of errors in the Contractor’s Tender due to mistakes in the Specifications which should have been rectified in the manner described above.

SIGNATURE PAGE AND NOTES

(ii)

### SECTION I	-	INSTRUCTIONS TO TENDERERS

- General

  - The Employer as defined in the Appendix to Conditions of Contract invites tenders for Works Contract as described in the tender documents. The successful Tenderer will be expected to complete the Works by the Intended Completion Date specified in the said Appendix.

  - Tenderers shall include the following information and documents with their tenders, unless otherwise stated:

    - copies of certificates of registration, and principal place of business;

    - total monetary value of construction work performed for each of the last five years;

    - experience in works of a similar nature and size for each of the last  five years, and clients who may be contacted for further information on these contracts;

    - major items of construction equipment owned;

    - qualifications and experience of key site management and technical personnel proposed for the Contract;

    - reports on the financial standing of the Tenderer, such as profit and loss statements and auditor’s reports for the last five years;

    - authority to seek references from the Tenderer’s bankers.

  - The Tenderer shall bear all  costs  associated  with  the  preparation  and submission of his tender, and the Employer will in no  case  be  responsible  or liable for those costs.

  - The Tenderer, at the Tenderer’s own responsibility and  risk,  is  encouraged  to visit and examine the Site of the Works and its surroundings, and obtain all information that may be necessary for preparing the tender and entering into a contract for construction of the Works. The costs of visiting the Site shall be at the Tenderer’s own expense.

  - The procurement entity’s employees, committee members, board members and their relative (spouse and children) are not eligible to participate in the tender.

  - The price to be charged for the tender document shall not exceed Kshs.1,000/=

  - The procuring entity shall allow the  tenderer  to  review  the  tender  document free of charge before purchase.

### Tender Documents

  - The complete set of tender documents comprises the documents listed here below and any addenda issued in accordance with clause 2.4 herebelow:-

    - These instructions to Tenderers

    - Form of Tender

    - Conditions of Contract and Appendix to Conditions of Contract

    - Specifications

    - Drawings

    - Bills of Quantities/Schedule of Rates (whichever is applicable)

    - Other materials required to be filled and submitted in accordance with these Instructions and Conditions

  - The Tenderer shall examine all instructions, forms and specifications in the tender documents. Failure to furnish all information required by the tender documents may result in rejection of his tender.

  - A prospective Tenderer making inquiry of the tendering documents may notify the Employer in writing or by cable, telex or facsimile at the address indicated in the letter of invitation to tender. The Employer will respond to any request for clarification received earlier than seven [7] days prior to the deadline for submission of tenders. Copies of the Employer’s response will be forwarded to all persons issued with tendering documents, including a description of  the inquiry, but without identifying its source.

  - Before the deadline for submission of tenders, the Employer may modify the tendering documents by issuing addenda. Any addendum thus issued shall be part of the tendering documents and shall be communicated in writing or by cable, telex or facsimile to all Tenderers. Prospective Tenderers shall acknowledge receipt of each addendum in writing to the Employer.

  - To give prospective Tenderers reasonable time in which to take an addendum into account in preparing their tenders, the Employer shall extend, as necessary, the deadline for submission of tenders in accordance with clause

4.2 herebelow.

### Preparation of Tenders

  - All documents relating to the tender and any correspondence shall be  in English Language.

  - The tender submitted by the Tenderer shall comprise the following:-

    - The Tender;

    - Tender Security;

    - Priced Bill of Quantities/Schedule of Rates for lump-sum Contracts

    - Any	other	materials	required	to	be	completed	and	submitted	by Tenderers.

  - The Tenderer shall fill in rates and  prices for all items of the Works described in the Bill of Quantities/Schedule of Rates. Items for which no rate or price is entered by the Tenderer will not be paid for when executed and shall be deemed covered by the other rates and prices in the Bill of Quantities/Schedule of Rates. All duties, taxes and other levies payable by the

Contractor under the Contract, as of 30 days prior to the deadline for submission of tenders, shall be included in the tender price submitted by the Tenderer.

  - The rates and prices quoted by the Tenderer shall not be subject  to  any adjustment during the performance of the Contract.

  - The unit rates and prices shall be in Kenya Shillings.

  - Tenders shall remain valid for a period of sixty (60) days from the date of submission. However in exceptional circumstances, the Employer may request that the Tenderers extend the period of validity for a specified additional period. The request and the Tenderers’ responses shall be made in writing.

  - The Tenderer shall prepare  one  original  of  the  documents  comprising  the tender documents as described in these Instructions to Tenderers.

  - The original shall be typed or written in indelible ink and shall be signed by a person or persons duly authorised to sign on behalf of the Tenderer. All pages of the tender where alterations or additions have been made shall be initialed by the person or persons signing the tender.

  - Clarification of tenders shall be requested by the tenderer to be received by the procuring entity not later than 7 days prior to the deadline for submission of tenders.

  - The procuring entity shall reply to any clarifications sought  by  the  tenderer within 3 days of receiving the request to enable the tenderer to make timely submission of its tender.

### Submission of Tenders

  - The tender duly filled and sealed in an envelope shall;-

(a) be addressed  to  the  Employer  at  the  address  provided  in  the  invitation  to tender;

- bear the name and identification number of the Contract as defined in the invitation to tender; and

- provide a warning not to open before the specified time and date for tender opening.

  - Tenders shall be delivered to the Employer at the address specified above not later than the time and date specified in the invitation to tender.

  - The tenderer shall not submit any alternative offers unless they are specifically required in the tender documents.

Only one tender may be submitted by each tenderer. Any tenderer who fails to comply with this requirement will be disqualified.

  - Any tender received after the deadline for  opening  tenders will  be  returned  to the tenderer un-opened.

  - The Employer may extend the deadline for submission of tenders by issuing an amendment in accordance with sub-clause 2.5 in which case all rights and obligations of the Employer and the Tenderers previously subject to the original deadline will then be subject to the new deadline.

### Tender Opening and Evaluation

  - The tenders will be opened in the presence  of  the  Tenderers’  representatives who choose to attend at the time and in the place specified in the invitation to tender.

  - The Tenderers’ names, the total amount of each tender and such other details as may be considered appropriate, will be announced at the opening by the Employer . Minutes of the tender opening, including the information disclosed to those present will also be prepared by the Employer.

  - Information relating  to  the  examination,  clarification,  evaluation  and comparison of tenders and  recommendations  for  the  award  of  the  Contract shall not be disclosed to  Tenderers  or  any  other  persons  not  officially concerned with such process until the  award  to  the  successful  Tenderer  has been announced. Any effort by a Tenderer to influence the Employer’s officials, processing of tenders or award decisions may result  in  the  rejection  of  his tender.

  - Tenders determined to be substantially responsive will be checked for any arithmetic errors. Errors will be corrected as follows:

    - where there is a discrepancy between the amount in figures and the amount in words, the amount in words will prevail; and

    - where there is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will prevail, unless in the

opinion of the Employer’s representative,  there  is  an  obvious typographical error, in which case the adjustment  will  be  made  to  the entry containing that error.

    - In the event of a discrepancy between the tender amount as stated in the Form of Tender and the corrected tender figure in the main summary of the Bill of Quantities/Quotation, the amount as stated in the Form of Tender shall prevail.

    - The Error Correction Factor shall be  computed  by  expressing  the difference between the tender amount and the corrected tender sum as a percentage of the  Corrected  Builder’s  Work  (i.e.  corrected  tender  sum less P.C. and Provisional Sums).

    - The Error Correction Factor shall be applied to all Builder’s Work (as a rebate or addition as the case may be) for the purposes of valuations for Interim Certificates and valuation of variations.

    - The amount stated in the tender will be adjusted in accordance with the above procedure for the correction of errors and with concurrence of the Tenderer, shall be considered as binding upon the Tenderer. If the Tenderer does not accept the corrected amount, the tender may be rejected and the Tender Security forfeited.

  - The tender evaluation committee  shall  evaluate  the  tender  within  30  days  of the validity period from the date of opening the tender.

  - Contract price variations shall not be allowed for contracts  not  exceeding  one year (12 months)

  - Where contract price variation is allowed, the valuation shall  not exceed 15% of the original contract price.

  - Price variation requests shall be processed by the  procuring  entity  within  30 days of receiving the request.

  - Preference where allowed in the evaluation of tenders shall not exceed 15%

  - To assist in the examination, evaluation, and  comparison  of  tenders,  the Employer at his discretion, may request [in  writing]  any  Tenderer  for clarification of the tender, including breakdowns of unit rates. The request for clarification and the response shall be in writing or by cable, telex or facsimile but no change in the tender price or substance of the tender shall be  sought, offered or permitted.

  - The Tenderer shall not influence the Employer on any matter relating to his tender from the time of the tender opening to the time the Contract is awarded. Any effort by the Tenderer to influence the Employer or his employees in his decision on tender evaluation, tender comparison or Contract award may result in the rejection of the tender.

### Award of Contract

  - The award of the Contract will be made to the Tenderer who has  offered  the lowest evaluated tender price.

  - Notwithstanding the provisions of clause 6.1 above, the Employer reserves the right to accept or reject any tender and to  cancel  the  tendering  process  and reject all tenders at any time prior to the award

of Contract without thereby incurring any liability to the affected Tenderer or Tenderers or any obligation to inform the affected Tenderer or Tenderers of the grounds for the action.

  - The Tenderer whose tender has been accepted  will  be  notified  of  the  award prior to expiration of the tender validity period in writing or by cable, telex or facsimile. This  notification  (hereinafter  and  in  all  Contract  documents  called the “Letter of Acceptance”) will state the sum [hereinafter and in all Contract documents called the “Contract Price” which the  Employer  will  pay  the Contractor in consideration of  the  execution,  completion,  and  maintenance  of the Works by the Contractor as prescribed by the Contract. The contract shall be formed on the parties signing the contract. At the same time  the  other tenderers shall be informed that their tenders have not been successful.

  - The Contract Agreement will incorporate all agreements between the Employer and the successful Tenderer. It will be signed by the Employer and sent to the successful Tenderer, within 30 days following the notification of award. Within 21 days of receipt ,the successful Tenderer will sign the Agreement and return it to the Employer.

  - Within 21 days after  receipt  of  the  Letter  of  Acceptance,  the  successful Tenderer shall deliver to the  Employer  a  Performance  Security  amount stipulated in the Appendix to Conditions of Contract.

  - The parties to the contract shall have it signed within 30 days from the date of notification of contract award unless there is an administrative review request.

  - The procuring entity may  at  any  time  terminate  procurement  proceedings before contract award and shall not be liable to any person for the termination.

  - The procuring entity shall give prompt  notice  of  the  termination  to  the tenderers and on request give its reasons for termination within 14 das  of receiving the request from any tenderer.

### Corrupt and fraudulent practices

  - The procuring entity requires  that  the  tenderer  observes  the  highest  standard of ethics during the procurement process and execution of  the  contract.  A tenderer shall sign a declaration that he has not and will not be  involved  in corrupt and fraudulent practices.

  - The procuring entity will reject a tender if it determines that the tenderer recommended for award has engaged in corrupt and fraudulent practices in competing for the contract in question.

  - Further a tenderer who is found to have indulged in corrupt and fraudulent practices risks being debarred from participating in public procurement in Kenya.

### Evaluation Process / Evaluation Criteria.

After tender opening, the tenders will be evaluated in 3 stages, namely:

- Preliminary evaluation,

- Technical Evaluation; and

- Financial Evaluation,

1.1.	PRELIMINARY EVALUATION

| S/No | MANDATORY REQUIREMENTS(MR) |
| --- | --- |
| MR1 | Valid Copy of certificate of incorporation/ Registration. |
| MR2 | Valid Copy of current KRA Tax compliance certificate |
| MR3 | Valid copy of NCA 6,5 &4 Only registration certificate in the relevant field |
| MR4 | Dully filled Stamped and signed tender questionnaire |
| MR5 | Dully filled stamped and signed Confidential business questionnaire |
| MR6 | Anticorruption Pledge duly signed stamped |
| MR7 | Submission of original & One (1) copies of tender document.\ |
| MR8 | Submitted tender documents must be properly TAPE BOUND and paginated in the correct sequence and all pages must be initialed/signed/stamped. NB: Spiral Binding and use of Spring or Box Files will not be allowed and will result in automatic disqualification. |
| MR9 | Mandatory Site visit on at 10:00 am, attendance certificate will be signed by all representatives. All prospective Tenderers shall assemble at the ………………………………… by a.m. Tenders who fail to attend the mandatory pre-tender Meeting shall also be |
| MR10 | Valid Copy of Single Business permit |
| MR11 | Tender Security (Bid Bond) of 2% of bidder sum in form Bank Guarantee from a reputable Bank or reputable Insurance company as approved by PPRA valid for 150 days from the date of Tender Opening. |
| MR12 | Submission of valid CR12 form showing the list directors /shareholding (issued within the last 1 year) or National Identity Card for Sole Proprietor |
| MR13 | Current annual contractors practicing license from NCA in the relevant Field |
| MR14 | Dully filled stamped and signed Form of Tender. |
| MR15 | Provide proof of Power of attorney (of Tender Signatory) |

| MR 16 | Valid Copy of AGPO Certificate. |
| --- | --- |
| MR 17 | Non-debarment statement form duly signed stamped |

Tender Bid Document submitted without ANY  of  the  above-mentioned Mandatory  documents shall  be  rejected   by   Evaluation   Committee   and   will  therefore  not proceed to the  technical and financial Evaluation.

N.B

The employer may seek further clarification/confirmation if necessary, to confirm authenticity/compliance of any condition of the tender.

### TECHNICAL EVALUATION

Award of points for the Technical Evaluation will be as follows: -

### Parameter	Maximum Points

    - Key personnel	15

    - Contracts completed in the last five (5) years	15

    - Schedules of on-going projects	10

    - Schedules of contractor’s equipment	15.

    - Sanctity of the tender document as in accordance with clause 5 of

Instruction to tenderer	10

    - Audited Financial Report for the for the last 3 years	15

    - Evidence of Financial Resources	15

    - Litigation History	5

### Total	100

The detailed scoring plan shall be as shown in Table 1 overleaf: -

Table 1: Scores for the Technical Evaluation

| Item | Description | Points Scored | Max. Points |
| --- | --- | --- | --- |
| 1 | Key Personnel (Attach evidence) Director of the firm - Holder of degree or diploma in a relevant Engineering field 5 - Holder of certificate in relevant Engineering field 3 - Holder of trade test certificate in relevant Engineering field 2 - No relevant certificate 0 At least 1 No. degree/diploma of the key personnel in relevant Engineering field - With over 10 years relevant experience---- 5 - With over 5 years relevant experience ----- 3 - With under 5 years relevant experience ---- 2 At least 2No. certificate holder of key personnel in relevant Engineering field - With over 10 years relevant experience ---- -------- 5marks - With over 5 years relevant experience ----- -------- 3marks - With under 5 years relevant experience ---- -------- 2marks |  | 5 5 5 |
|  |  |  | 15 |
| 2 | Contract completed in the last five (5) years; a max of 5 No. projects (Attach evidence) - Project of similar nature, complexity and magnitude. 3marks each - Project of similar nature but of lower value than the one in consideration ---------------- --- 2 marks each - Project of similar magnitude 1 mark each - No completed project of similar nature 0 marks |  |  |
|  |  |  | 15 |

| 3 | On-going projects (A max of 2 No. projects) (Attach evidence) - Project of similar nature, complexity and magnitude 5 marks each - Project of similar nature but of lower value than the one in consideration ---------------- --- 2 marks each - No ongoing project of similar nature 0 marks |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | 10 |  |
| 4 | Schedules of contractor’s equipment (Attach evidence of proof of ownership or lease agreement) For each specific equipment required in the construction work being tendered for. (Maximum No. of equipment to be considered – 5 No.) ------- -------------- 3marks each |  |  |  |  |
|  |  |  |  | 15 |  |
| 5. | Sanctity of the tender document o Having the document intact (not tempered with in any way) 10 o Having mutilated or modified the tender document 0 |  |  | 10 |  |
| 6. | Financial report Audited financial report (last three [3] years)-2015-2018 - Turn over greater or equal to 5 times the cost of the project - 15 |  |  |  |  |
|  | - Turn over greater or equal to | 3 times the cost of the project - 6 the cost of the project ---------- 4 |  |  |  |
|  | - Turn over greater or equal to |  |  |  |  |
|  | - Turn over below the cost of the project 2 |  |  |  |  |
|  |  |  |  |  | 15 |
| 7. | Evidence of financial resources (cash in hand, lines of credit, over draft facility etc) - Has financial resources equal or above the cost of the project 15marks - Has financial resources below the cost of the project, but over 50% of the cost of the project -------------------------------- 10marks - Has financial resources below 50% of the cost of the project or has not given evidence for the financial resources ----------- - 0marks |  |  |  |  |
|  |  |  |  |  | 15 |

Table 1: Scores for the Technical Evaluation (Cont’d)

| 8 | Litigation History - Has no construction-related litigation or arbitration case in the last five years 5 - Has not more than three construction-related litigation or arbitration cases in the last five years ------------------- 2 - Has more than three construction-related litigation or arbitration cases in the last five years 0 |  |  |
| --- | --- | --- | --- |
|  |  |  | 5 |
|  | TOTAL |  | 100 |

Any bidder who scores 70 points and above in this Technical Evaluation shall be considered for further evaluation

### FINANCIAL EVALUATION

Bids that pass the Technical Evaluation shall be subjected to the Financial Evaluation in two stages, as follows: -

    - Tender Rates and arithmetic Errors.

    - Tender Sums,

### Tender Rates

      - Examination of Arithmetic Errors

According to Section 82 of the Public Procurement and Asset Disposal Act

(2015) that the tender sum as submitted  and  read  out  during  the  Tender  Opening  shall  be absolute  and  final,  and  shall  not  be  the  subject  of  correction, adjustment or amendment in any way or by any person or entity, The committee will check the arithmetic errors  and  notify  the winning bidder incase errors are found in the document, however no alteration of bid price will be done.

Any bidder with Arithmetic error of + ,-ve will be automatic disqualified ii. Comparison of rates.

Evaluation  of  the  tender  rates  will  constitute  examination   of   (i)   pricing   consistency  (same rates for similar items, price distribution amongst sections, etc.); (ii) reasonableness of pricing (comparison with prevailing  market  levels,  inclusion  of  taxes [VAT,  etc.]  in  the rates);  The rates for major  items  will  be  examined  and  compared  with  the  Official  Estimate.  The  bidders  who pass the test of price consistency and reasonableness, (if any) shall proceed to Financial Score Evaluation.

    - Financial Score (Evaluation

The formulae for determining the Financial Score (FS) shall be as follows:-

The financial proposal shall be prepared and submitted by the candidate, The formula for determining the financial score is as follows;

FS = FM/F*100

Where; FS – Financial Score

FM – Lowest Financial Proposal

F	- Financial Proposal under consideration

The weight given to the technical proposal is 80% and for financial proposal is 20% The lowest financial bid will be given maximum financial score

The award criteria shall be a combination of Technical and financial scores of responsive bidders.

a) Combined Technical and Financial Scores (S)

Bidders will be ranked according to their combined technical (TS) and financial (FS) scores using the weights (T=the weight given to the Technical Proposal: P= the weight given to the Financial Proposal; T + p = I) indicated below. The combined technical and financial score, S, shall be calculated as follows: -

S = TS x T % + FS x P %

### Weighting T = 0.80

P = 0.2

Particulars of post – qualification if applicable. The Client (EMBAKASI EAST NG- CDF) may inspect the premises and under due diligence to seek further clarification/confirmation if necessary to confirm authenticity / compliance of any condition of the tender /qualifications of the tenderer in line with Section 83 of the Public Procurement and Asset Disposal Act ,2015

Award Criteria: The firm achieving the lowest evaluated price will be awarded the contract in line with Section 86 of the Public Procurement and Disposal Act,2015

Particulars of performance security if applicable. 10 % of contract sum

EMBAKASI EAST NG-CDF may request for Negotiations to negotiate on the Tenderers Bid price if – The Tender Price is deemed to be over and above the Budget/ Prevailing market rate taking account of Section 44 (2) (a) 53(3) & (8) and Provisions of Section 82 of the Public Procurement and Asset Disposal Act,2015

# SECTION II - CONDITIONS OF CONTRACT

### Definitions

  - In this Contract, except where context otherwise requires, the following terms shall be interpreted as indicated;

“Bills of Quantities” means the priced and completed Bill of  Quantities forming part of the tender[where applicable].

“Schedule of Rates” means the priced Schedule of Rates forming part of the tender [where applicable].

“The Completion Date”  means  the  date  of  completion  of  the  Works  as certified by the Employer’s Representative.

“The Contract” means the agreement entered into by the Employer and the Contractor as recorded in the Agreement Form and signed by the parties.

“The Contractor” refers to the person or corporate body whose tender to carry out the Works has been accepted by the Employer.

“The Contractor’s Tender”  is the completed tendering document submitted by the Contractor to the Employer.

“The Contract Price” is the price stated in the Letter of Acceptance.

“Days” are calendar days; “Months” are calendar months.

“A Defect” is any part of the Works not completed in accordance with the Contract.

“The Defects Liability Certificate” is the certificate issued by Employer’s Representative upon correction of defects by the Contractor.

“The Defects Liability Period” is the period named in the Appendix to Conditions of Contract and calculated from the Completion Date.

“Drawings” include calculations and other information provided or approved by the Employer’s Representative for the execution of the Contract.

“Employer”	Includes Central or Local Government administration, Universities, Public Institutions and Corporations and is the party who employs the Contractor to carry out the Works.

“Equipment” is the Contractor’s machinery and vehicles brought temporarily to the Site for the execution of the Works.

“Site” means the place or places where the permanent Works are to be carried out including workshops where the same is being prepared.

“Materials”   are  all  supplies,  including  consumables,  used  by  the  Contractor for incorporation in the Works.

“Employer’s Representative” is the person appointed by the Employer and notified to the Contractor for the purpose of supervision of the Works.

“Specification” means the Specification of the Works included in the Contract.

“Start Date” is the date when the Contractor shall commence execution of the Works.

“  A  Subcontractor”  is a person or corporate body who has a Contract with the Contractor to carry out a part of the Work in the Contract, which includes Work on the Site.

“Temporary  works”    are works  designed, constructed, installed, and removed by the Contractor which are needed  for  construction  or  installation  of  the Works.

“A Variation” is an instruction given by the Employer’s Representative which varies the Works.

“The Works” are what the Contract requires the Contractor to construct, install, and turnover to the Employer.

### Contract Documents

  - The following documents shall constitute the Contract documents and shall be interpreted in the following order of priority;

    - Agreement,

    - Letter of Acceptance,

    - Contractor’s  Tender,

    - Conditions of Contract,

    - Specifications,

    - Drawings,

    - Bills of Quantities or Schedule of Rates [whichever is applicable)

### Employer’s  Representative’s  Decisions

  - Except where otherwise specifically stated, the Employer’s Representative will decide contractual matters between  the  Employer  and  the  Contractor  in  the role representing the Employer.

### Works, Language and Law of Contract

  - The Contractor shall construct and install the Works in accordance with the Contract documents. The Works may commence on the Start Date and shall be carried out in accordance with the Program submitted by the Contractor, as updated with the approval of the Employer’s Representative, and complete them by the Intended Completion Date.

  - The ruling language of the Contract shall be English language and the  law governing the Contract shall be the law of the Republic of Kenya.

### Safety, Temporary works and Discoveries

  - The Contractor shall be responsible for design of temporary works  and  shall obtain approval of third parties to the design of the temporary works where required.

  - The Contractor shall be responsible for the safety of all activities on the Site.

  - Any thing of historical or other interest or significant value unexpectedly discovered on the Site shall be the property  of  the  Employer.  The  Contractor shall notify the Employer’s Representative of such discoveries and carry out the Employer’s Representative’s instructions for dealing with them.

### Work Program and Sub-contracting

  - Within seven  days  after  Site  possession  date,  the  Contractor  shall  submit  to the Employer’s Representative for approval a program showing the general methods, arrangements, order and timing for all the activities in the Works.

  - The Contractor may sub-contract the Works (but only to a maximum of 25 percent of the Contract Price) with the approval of the Employer’s Representative. However, he shall not assign the Contract  without  the approval of the Employer in writing. Sub-contracting shall not alter the Contractor’s obligations.

### The site

  - The Employer shall give possession of all parts of the Site to the Contractor.

  - The Contractor shall allow the Employer’s Representative and any other person authorised by the Employer’s  Representative  ,access  to  the  Site  and  to  any place where work in connection with the Contract is being carried out or is intended to be carried out.

### Instructions

  - The Contractor shall carry out all instructions of the Employer’s Representative which are in accordance with the Contract.

### Extension of Completion Date

  - The Employer’s Representative shall extend  the  Completion  Date  if  an occurrence arises which makes it impossible  for  completion to  be  achieved  by the Intended Completion Date. The Employer’s Representative shall decide whether and by how much to extend the Completion Date.

  - For the purposes of this clause, the following occurrences shall be valid for consideration;

Delay by:-

    - force majeure, or

    - reason of any exceptionally adverse weather conditions, or

    - reason of civil commotion, strike or lockout affecting any of the trades employed upon the Works or any  of  the  trades  engaged  in  the preparation, manufacture or transportation of any  of  the  goods  or materials required for the Works, or

    - reason  of  the  Employer’s  Representative’s  instructions  issued  under these Conditions, or

    - reason of the contractor not having received in due time necessary instructions, drawings, details or levels  from  the  Employer’s Representative for which he specifically  applied  in  writing  on  a  date which having regard to the date for Completion stated in the appendix to these Conditions or to any extension of time then fixed under this clause was neither unreasonably  distant  from  nor  unreasonably  close  to  the date on which it was necessary for him to receive the same, or

    - delay on the part of  artists,  tradesmen  or  others  engaged  by  the Employer in executing work not forming part of this Contract, or

    - reason of delay by statutory or other services providers or similar bodies engaged directly by the Employer, or

    - reason of opening up for inspection of any Work covered up or of the testing or any of the Work, materials or goods in accordance with these conditions unless the inspection or test showed that the Work, materials or goods were not in accordance with this Contract, or

    - reason of delay  in  appointing  a  replacement  Employer’s  Representative, or

    - reason of delay caused by the late supply of goods or materials or in executing Work for which the Employer or his agents are contractually obliged to supply or to execute as the case may be, or

    - delay in receiving possession of or access to the Site.

### Management Meetings

  - A Contract management meeting shall be held regularly and attended by the Employer’s Representative and the Contractor.  Its  business  shall  be  to  review the plans for the remaining Work. The Employer’s

Representative shall record the business of management meetings and provide copies of the record to those attending the meeting and the Employer. The responsibility of the parties for actions to be taken shall be decided by the Employer’s Representative either at the management meeting or after the management meeting and stated in writing to all who attend the meeting.

  - Communication between parties shall be effective only when in writing.

### Defects

  - The Employer’s Representative shall inspect the Contractor’s work and notify the Contractor of any defects that are found.  Such inspection shall not affect the Contractor’s responsibilities. The Employer’s Representative may instruct the Contractor to search for a defect and to uncover and test any Work that the Employer’s Representative considers may have a defect. Should the defect be found, the cost of uncovering and making good shall be borne by  the Contractor. However if there is no defect found, the cost of uncovering and making good shall be treated as a variation and added to the Contract Price.

  - The Employer’s Representative shall give notice to the Contractor of any defects before the end of the Defects Liability Period, which begins at Completion, and is defined in the Appendix to Conditions of Contract.

  - Every time notice of a defect is given, the Contractor shall correct the notified defect within the length of time specified by the Employer’s Representative’s notice. If the Contractor has not corrected a defect within the time specified in the Employer’s Representative’s notice,  the  Employer’s  Representative  will assess the cost of having the defect corrected  by  other  parties  and  such  cost shall be treated as a variation and be deducted from the Contract Price.

### Bills of Quantities/Schedule of Rates

  - The Bills of Quantities/Schedule of Rates shall contain items for the construction, installation, testing and commissioning of the Work to be done by the Contractor.  The Contractor will be paid for the quantity of the Work done at the rates in the Bills of Quantities/Schedule of Rates for each item. Items against which no rate is entered by the Tenderer will not be paid for when executed and shall be deemed covered  by the rates for other items in the Bills of Quantities/Schedule of Rates.

  - Where Bills of Quantities do not form part of the Contract, the Contract Price shall be a lump sum (which shall be deemed to have been based on the rates in

the Schedule of Rates forming part of the tender) and shall be subject to re- measurement after each stage.

### Variations

  - The Contractor shall  provide  the  Employer’s  Representative  with  a  quotation for carrying out the variations when requested to do so. The Employer’s Representative shall assess the quotation and  shall  obtain  the  necessary authority from the Employer before the variation is ordered.

  - If the Work in the variation corresponds with an item description in the Bill of Quantities/Schedule of Rates, the rate in the Bill of Quantities/Schedule  of Rates shall be used to calculate the value of the variation. If the nature of the Work in the variation does not correspond with items in the Bill of Quantities/Schedule of Rates, the quotation by the Contractor shall be in the form of new rates for the relevant items of Work.

  - If the Contractor’s quotation  is  unreasonable,  the  Employer’s  Representative may order the  variation  and  make  a change to  the  Contract Price,  which  shall be based on the Employer’s Representative’s own forecast of the effects of the variation on the Contractor’s costs.

### Payment Certificates and Final Account

  - The Contractor shall be paid after each of the following stages of Work listed herebelow (subject to re-measurement by the Employer’s

Representative of the Work done in each stage before payment is made). In case of lump-sum Contracts, the valuation for each stage shall be based on the quantities so obtained in the re-measurement and the rates in the Schedule of Rates.

- Advance payment	(percent of	Contract Price,

[after Contract execution]	to be inserted by the Employer).

- First stage (define stage)

- Second stage (define stage)

- Third stage (define stage)

- After defects liability period.

  - Upon deciding that Works included in a particular stage are complete, the Contractor shall submit to the Employer’s Representative his application for payment. The Employer’s Representative shall check, adjust if necessary  and certify the amount to be paid to the Contractor within 21 days of receipt of the Contractor’s  application  .The  Employer  shall  pay  the  Contractor  the  amounts so certified within 30 days of the date of issue of each Interim Certificate.

  - The Contractor shall supply the Employer’s Representative with a detailed final account of the total amount that the Contractor considers payable under the Contract before the end of the Defects Liability Period. The Employer’s Representative shall issue a Defect Liability Certificate and certify any final payment that is due to the Contractor within  30  days  of  receiving  the Contractor’s account if it is correct and complete. If it is not, the Employer’s Representative shall issue within  21  days  a  schedule  that  states  the  scope  of the corrections or additions that are necessary. If the final account is still unsatisfactory after it  has  been  resubmitted,  the  Employer’s  Representative shall decide on the  amount  payable  to  the  Contractor  and  issue  a  Final Payment Certificate. The Employer shall pay the Contractor the  amount  so certified within 60 days of the issue of the Final Payment Certificate.

  - If the period laid down for payment to the Contractor  upon  each  of  the Employer’s Representative’s Certificate by the Employer has been exceeded, the Contractor shall be entitled to claim simple interest calculated pro-rata on the basis of the number of days delayed at the

Central Bank of Kenya’s average  base  lending  rate  prevailing  on  the  first  day the payment becomes overdue. The Contractor will be required to notify the Employer within 15 days of receipt of delayed  payments  of  his  intentions  to claim interest.

### Insurance

  - The Contractor shall be responsible for and shall take out appropriate cover against, among other risks, personal injury; loss of or damage to

the Works, materials and plant; and loss of or damage to property.

### Liquidated Damages

  - The Contractor shall pay liquidated damages to the Employer at the rate 0.001 per cent of the Contract price per day for each day that the actual Completion Date is later than the Intended Completion Date except in the case of any of the occurrences listed under clause 9.2. The Employer may deduct liquidated damages from payments due to the Contractor. Payment  of  liquidated damages shall not affect the Contractor’s liabilities.

### Completion and Taking Over

  - Upon deciding that the Work is complete the Contractor shall request the Employer’s Representative to issue a Certificate of  Completion  of  the  Works, upon deciding that the Work is completed.

The Employer shall take over the Site and the Works within seven days of the Employer’s Representative issuing a Certificate of Completion.

### Termination

  - The Employer or the Contractor may terminate the Contract if the other party causes a fundamental breach of the Contract. These fundamental breaches of Contract shall include, but shall not be limited to, the following;

    - the Contractor stops Work for 30 days continuously without reasonable cause or authority from the Employer’s Representative;

    - the Contractor is declared bankrupt or goes into liquidation other than for a reconstruction or amalgamation;

    - a payment certified by the Employer’s Representative is not paid by the Employer to the Contractor within 30  days  after  the  expiry  of  the payment periods stated in sub clauses 14.2 and 14.3 hereinabove.

    - the Employer’s Representative gives notice that failure to correct  a particular defect is a fundamental breach of Contract and  the  Contractor fails to correct it within a reasonable period of time.

  - If the Contract is terminated, the Contractor shall stop Work immediately, and leave the Site as soon as reasonably  possible.  The  Employer’s  Representative shall immediately thereafter arrange for a meeting for the purpose  of  taking record of the Works executed and materials, goods, equipment and temporary buildings on Site.

### Payment Upon Termination

  - The Employer may employ and pay other persons to carry out and complete the Works and to rectify any defects and may enter upon the Works and use all materials on Site, plant, equipment and temporary works.

  - The Contractor shall, during the execution or after the completion of the Works under this clause, remove from the Site as and when required within such reasonable time as the Employer’s Representative may in writing specify,any temporary buildings, plant,

machinery, appliances, goods or materials belonging to  him,  and  in  default thereof , the Employer may (without being responsible for any loss or damage) remove and sell any such property of the Contractor, holding the proceeds less all costs incurred to the credit of the Contractor.

  - Until after completion of the Works under  this  clause,  the  Employer  shall  not  be bound by any other provision  of  this  Contract  to  make  any  payment  to  the Contractor, but upon such completion as aforesaid and the verification within a reasonable time of the accounts therefor  the  Employer’s  Representative  shall  certify the amount of expenses  properly  incurred  by  the  Employer  and,  if  such  amount added to the money paid to  the  Contractor  before  such  determination  exceeds  the total amount which would have been payable on due completion in accordance with this Contract, the difference shall be a debt payable to the Employer by the

Contractor; and if the said amount added to the said money be less than the said total amount, the difference shall be a debt payable by the Employer to  the Contractor.

### Corrupt Gifts and Payments of Commission

  - The Contractor shall not;

    - Offer or give or agree to give to any person in the service  of the Employer any gifts or consideration of any kind as an  inducement  or  reward  for doing or forbearing to do or for having done or forborne to do any act in relation to the obtaining or execution of this or any other contract with the Employer or for showing or forbearing to show favour or disfavour to any person in relation to this or any other contract with the Employer.

    - Any breach of this  Condition  by  the  Contractor  or  by  anyone  employed by him or acting on his behalf (whether with or

without the knowledge of the Contractor) shall be an offence  under  the Laws of Kenya.

### Settlement of Disputes

  - Any dispute arising out of the Contract which cannot be amicably settled between the parties shall be referred  by  either  party  to  the  arbitration and final decision of a person to be agreed between the parties. Failing agreement to concur in the appointment of an Arbitrator, the Arbitrator shall be appointed by the chairman of the  Chartered  Institute  of Arbitrators, Kenya branch, on the request of the applying party.

APPENDIX TO CONDITIONS OF CONTRACT

THE EMPLOYER IS

Name:	EMBAKASI EAST NG-CDF

Address:		P.O. Box 38639 - 00100, NAIROBI

Name of Employer’s Representative: CHAIRMAN, EMBAKASI EAST NG-CDF

The name (and identification number) of the Contract is PROPOSED RE-ROOFING OF 12NO CLASSROOMS AT EDELVELE PRIMARY SCHOOL - NAIROBI

The Works consist of re-roofing of 12no classrooms at Edelvele primary school - Nairobi

The Start Date shall be AGREED WITH THE PROJECT MANAGER

The Intended Completion Date for the whole of the Works shall be

16 (SIXTEEN) WEEKS AFTER DATE OF POSSESSION

The following documents also form part of the Contract:

BILLS OF QUANTITIES, CONTRACT DRAWINGS AND ANY OTHER AUTHORIZED DRAWINGS WHICH MAY BE ISSUED

The Site Possession Date shall be AGREED WITH THE PROJECT MANAGER

The Site is located at EMBAKASI EAST CONSTITUENCY, AT EDELVELE PRIMARY SCHOOL

- NAIROBI and is defined in drawings nos. CONTRACT DRAWINGS

The Defects Liability Period is 180 days.

Amount of Tender Security is Kshs. NIL

Note: This amount should be between one (1) percent and three (3) percent of the value of the Works)

The name and Address of the Employer for the purposes of submission of tenders is

### EMBAKASI EAST NG-CDF,

P. O. Box, NAIROBI.

# FORM OF TENDER

THE CHAIRMAN, EMBAKASI EAST NG-CDF

[Date]

#### PROPOSED RE-ROOFING OF 12NO CLASSROOMS AT EDELVELE PRIMARY SCHOOL - NAIROBI

Dear Sir,

- In accordance with the Conditions of Contract, Specifications, Drawings and Bills of Quantities/Schedule of Rates for the execution of the above named Works, we, the undersigned offer to construct, install and complete such Works and remedy any defects therein for the sum of

Kshs.	[Amount	in	figures]	Kenya Shillings

[Amount in words]

- We undertake, if our tender is accepted, to commence the Works as

soon as is reasonably possible after the receipt of  the  Employer’s  Representative’s notice to commence, and to complete the whole  of  the  Works  comprised  in  the Contract within the time stated in the Appendix to Conditions of Contract.

- We agree to abide by this tender until	[Insert date], and it shall remain binding upon us and may be accepted at any time before that date.

- Unless and until a formal Agreement is prepared and executed this tender together with your written acceptance thereof, shall constitute a binding Contract between us.

- We understand that you are not bound to accept the lowest or any tender you may receive.

Dated this	day of	20

Signature	in the capacity of

duly	authorized	to	sign	tenders	for	and	on	behalf	of

[Name of Tenderer] of

[Address of Tenderer]

TENDER QUESTIONNAIRE

### PLEASE FILL IN BLOCK LETTERS.

- Full names of tenderer;

………………………………………………………………………………………

- Full address of tenderer to which tender correspondence is to be sent (unless an agent has been appointed below);

………………………………………………………………………………………

- Telephone number (s) of tenderer;

………………………………………………………………………………………

- Telex of tenderer;

………………………………………………………………………………………

- Name of tenderer’s representative to be contacted on matters of the tender during the tender period;

………………………………………………………………………………………

- Details of tenderer’s nominated agent (if any) to receive tender notices. This is essential if the tenderer does not have his registered address in Kenya (name, address, telephone, telex);

………………………………………………………………………………………

………………………………………………………………………………………

Signature of Tenderer

## CONFIDENTIAL BUSINESS QUESTIONNAIRE

You are requested to give the particulars indicated in Part 1 and either Part 2 (a), 2

(b) or 2 (c) and 2 (d) whichever applies to your type of business.

You are advised that it is a serious offence to give false information on this Form.

#### Part 1 – General

Business  Name    ………………………………………………………………………

Location of business premises;	Country/Town……………………….

Plot No……………………………………… Street/Road …………………………

Postal   Address………………………………   Tel   No………………………………..

Nature    of    Business…………………………………………………………………..

Current Trade Licence No…………………… Expiring date…………………

Maximum value of business which you can handle at any time: K. pound………………………..

Name   of   your   bankers………………………………………………………………

Branch…………………………………………………………………………………

#### Part 2 (a) – Sole Proprietor

Your  name  in  full……………………………………  Age…………………………

Nationality…………………………………  Country  of  Origin…………………

*Citizenship details …………………………………………………………………

#### Part 2 (b) – Partnership

Give details of partners as follows:

Name in full	Nationality	Citizenship Details	Shares

1……………………………………………………………………………………

2……………………………………………………………………………………

3……………………………………………………………………………………

#### Part 2(c) – Registered Company:

Private   or   public……………………………………………………………

State the nominal and issued capital of the Company-

Nominal  Kshs…………………………………………………………………

Issued Kshs……………………………………………………………………

Give details of all directors as follows:

Name in full.	Nationality. Citizenship Details*.	Shares. 1	.………………………………………………………………………………………………

2	.………………………………………………………………………………………………

3	.………………………………………………………………………………………………

4	.………………………………………………………………………………………………

5	.………………………………………………………………………………………………

#### Part 2(d) – Interest in the Firm:

Is there any person / persons in EMBAKASI EAST NG-CDF, who has interest in this firm?

Yes/No………………………

I certify that the information given above is correct.

| ……………………… | ……………………… | ………………… |
| --- | --- | --- |
| (Title) | (Signature) | (Date) |

PARTICULAR PRELIMINARIES

| ITEM | DESCRIPTION | KSHS |
| --- | --- | --- |
|  | PARTICULAR PRELIMINARIES |  |
| A | PRICING ITEMS OF PRELIMINARIES |  |
|  | Prices SHALL BE INSERTED against items of “preliminaries” in the tenderer’s priced Bills of Quantities. The contractor is advised to read and understand all preliminary items. |  |
| B | DESCRIPTION OF THE WORKS |  |
|  | The Works consist of :- renovation works as per bills of quantities |  |
| C | FLOOR AREAS |  |
|  | The total gross floor areas are as follows; |  |
|  | The total gross floor areas are given without warranty but for guidance only. |  |
| D | MEASUREMENTS |  |
|  | In the event of any discrepancies arising between the Bills of Quantities and the actual works, the site measurements shall generally take precedence. However, such discrepancies between any contract documents shall immediately be referred to the PROJECT MANAGER in accordance with Clause 22 of the Conditions of Contract. The discrepancies shall then be treated as a variation and be dealt with in accordance with Clause 22 of the said Conditions. |  |
| E | LOCATION OF SITE |  |
|  | The site of the proposed works is located at EDELVELE PRIMARY SCHOOL. The Contractor is advised to visit the site, to familiarize with the nature and position of the site. No claims arising from the Contractor’s failure to do so will be entertained. |  |
| F | SIGNING OF THE TENDER DOCUMENTS |  |
|  | The bidder shall append his / her signature and / or company ‘s rubberstamp on each and every page of tender document. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | KSHS |
| --- | --- | --- |
| A | DEMOLITIONS AND ALTERATIONS |  |
|  | The Contractor is to allow for all temporary protection required during the works including ordinary and special dust screens, hoardings, barriers, warning signs, etc as directed by the Project Manager and |  |
|  | as necessary for the adequate propping and protection of existing property, finishes, workmen employed on the site, employer's agents and the public. Any damage or loss incurred due to the insufficiency of such protection must be made good by the Contractor. All protective devices are to be removed on completion of the works and any necessary making good consequent upon this is to be excecuted to the satisfaction of the Project Manager |  |
|  | The works shall be propped, strutted and supported as necessary before any alteration or demolition work commences. Prices shall include for all cleaning and preparatory work to structure and finishes and for making good to all finishes on completion whether or not specifically described. |  |
|  | Unless described as set aside for re-use all arising debris and surplus materials shall be carefully removed from building and carterd away from |  |
|  | The Contractor shall be entirely responsible for any breakage or damage which may occur to materials required for re-use during their removal unless it is certified by the Project Manager that such damage or breakage was inevitable as a result of the condition of the item concerned |  |
| B | CLEARING AWAY |  |
|  | The Contractor shall remove all temporary works, rubbish, debris and surplus materials from the site as they accumulate and upon completion of the works, remove and clear away all plant, equipment, rubbish, unused materials and stains and leave in a clean and tidy state to the reasonable satisfaction of the Project Manager. |  |
|  | The whole of the works shall be delivered up clean, complete and in perfect condition in every respect to the satisfaction of the Project Manager. |  |
| C | CLAIMS |  |
|  | It shall be a condition of this contract that upon it becoming reasonably apparent to the Contractor that he has incurred losses and / or expenses due to any of the contract conditions, or by any other reason whatsoever, he shall present such a claim or intent to claim notice to the PROJECT MANAGER within the contract period. No claim shall be entertained upon the expiry of the said contact period. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | KSHS |
| --- | --- | --- |
| A | PAYMENTS |  |
|  | The tenderer’s attention is drawn to the fact that the GOVERNMENT DOES NOT MAKE ADVANCE PAYMENTS but pays for work done and materials delivered to sit: all in accordance with Clause 23 of the Conditions of Contract Agreement. In order to facilitate this, a list of the general component elements for the works is given at the summary page of these specifications and the tenderer is requested to break down his tender sum commensurate to the said elements |  |
| B | PREVENTION OF ACCIDENT, DAMAGE OR LOSS |  |
|  | The Contractor is notified that these works are to be carried out on a restricted site where the client is going on with other nomal activities. The Contractor is thus instructed to take reasonable care in the execution of the works as to prevent accidents, damage or loss and disruoption of activities beeing carried out by the Client. The Contractor shall allow in his rates any expense he deemed necessary by taking such care within the site. |  |
| C | WORKING CONDITIONS |  |
|  | The Contractor shall allow in his rates for any interferance that he may encounter in the course of the works for the Client may in some cases ask the Contractor not to proceed with the works until some activities within the site are completed, as the facility will be operating as usual during the course of the contract. |  |
| D | SIGNBOARD |  |
|  | Allow for providing, erecting, maintaining throughout the course of the Contract and afterwards clearing away a signboard as designed, specified and approved by the Project Manager. |  |
| E | LABOUR CAMPS |  |
|  | The Contractor shall not be allowed to house labour on site. Allow for transporting workers to and from the site during the tenure of the contract. |  |
| F | MATERIALS FROM DEMOLITIONS |  |
|  | Any materials arising from demolitions and not re-used shall become the property of CLIENT. The Contractor shall allow in his rates the cost of transporting the demolished materials as directed by the PROJECT MANAGER. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | KSHS |
| --- | --- | --- |
| A | PRICING RATES |  |
|  | The tenderer shall include for all costs in executing the whole of the works, including transport, replacing damaged items, fixing, all to comply with the said Conditions of Contract. |  |
| B | SECURITY |  |
|  | The Contractor shall allow for providing adequate security for the works and the workers in the course of execution of this contract. No claim will be entertained from the Contractor for not maintaining adequate security for both the works and workers. |  |
| C | URGENCY OF THE WORKS |  |
|  | The Contractor is notified that these “ works are urgent” and should be completed within the period stated in these Particular Preliminaries. |  |
|  | The Contractor shall allow in his rates for any costs he/ she deems that he/she may incur by having to complete these works within the stipulated contract period. |  |
| D | PAYMENT FOR MATERIALS ON SITE |  |
|  | All materials for incorporation in the works must be stored on site before payment is effected, unless specifically exempted by the Project Manager. This is to include materials of the Contractor, nominated sub-Contractors and nominated suppliers. |  |
| E | EXISTING SERVICES |  |
|  | Prior to the commencement of any work, the Contractor is to ascertain from the relevant authority the exact position, depth and level of all existing services in the area and he/she shall make whatever provisions may be required by the authorities concerned for the support, maintenance and protection of such services. |  |
| F | CONTRACT COMPLETION PERIOD |  |
|  | The contract completion period in accordance with condition 31 of the Conditions of contract must be adhered to. |  |
|  | The ‘PROJECT MANAGER’ shall strictly monitor the Contractors progress in relation to the progress chart and should it be found necessary the ‘PROJECT MANAGER’ shall inform the Contractor in writing that his actual performance on site is not satisfactory .In all such cases the Contractor shall accelerate his rate of performance production and progress by all means such as additional labour,plant, e.t.c and working overtime all at his cost. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | KSHS |
| --- | --- | --- |
| A | PERFORMANCE BOND |  |
|  | A bond of 5% of the contract sum will be required in accordance with clause 6.00 (as amended) on award of contract of the Instructions to Tenderer’s. No payment on account for the works executed will be made to the contractor until he has submitted the Performance Bond to the Project Manager duly signed, sealed and stamped from an approved Bank. |  |
| B | TENDER DOCUMENTS |  |
|  | Tender documents are as listed in Clause 2.1 of the Instruction to Tenderer’s Page STD/8 |  |
| C | DELIVERY OF TENDER |  |
|  | Tenders and all documents in connection therewith, as specified above must be delivered in the addressed envelope which should be properly sealed and deposited at the offices as specified in the letter accompanying these documents or as indicated in the advertisement. |  |
|  | Tenders will be opened at the time specified in the letter accompanying these Tender Documents or as indicated in the advertisement. Tenders delivered/received later than the above time will not be opened. |  |
| D | VALUE ADDED TAX |  |
|  | The Contractor’s attention is drawn to the Legal Notice in the Finance Act part 3 Section 21(b) operative from 1st September, 1993 which requires payment of VAT on all contracts. The Contractor should therefore include allowance in his rates and prices for prices for VAT and any other Government taxes currently in force. |  |
|  | The tenderer is advised that in accordance with Government public notice No. 35 & 36 Dated 11th September 2003 operational from 1st October 2003, VAT will be deducted against the contract sum at the prevailing rate by the Employer and remitted directly to the Commissioner of VAT through all interim certificates. It should however be noted that this is not additional tax but a new mode of payment for VAT, any excess payment will be refundable once the Contractor has submitted monthly returns to the Commissioner of VAT who will do the refunds when satisfied that the VAT regulations have been complied with. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | KSHS |
| --- | --- | --- |
| A | PROJECT MANAGEMENT EXPENSES |  |
|  | Provide a provisional sum of Kenya Shillings Four hundred and sixty thousand (Kshs 460,000.00) only for Design team members to cater for project documentation and supervision expenses. | 460,000.00 |
|  | Allow for Contractor’s profit and overheads ( %) |  |
|  | Provide a provisional sum of Kenya Shillings Four hundred and sixty thousand (Kshs 460,000.00) only for Project Management Committee members. | 460,000.00 |
|  | Allow for Contractor’s profit and overheads ( %) |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | KSHS |
| --- | --- | --- |
| A | PARTICULARS OF INSERTIONS TO BE MADE IN APPENDIX TO CONTRACT AGREEMENT |  |
|  | The following are the insertions to be made in the appendix to the Contract Agreement: - |  |
|  | Period of Final Measurement 3 Months From Practical completion |  |
|  | Defects Liability Period 6 Months from Practical completion |  |
|  | Date for Possession To be agreed with the Project Manager |  |
|  | Date for Completion …16.. Weeks from date of Possession |  |
|  | Liquidated and Ascertained At the rate of Kshs.. 20,000… per |  |
|  | week or part thereof |  |
|  | Prime cost sums for which …………………………………………… |  |
|  | The Contractor desires to tender ……………………………………… |  |
|  | Period of Interim Certificates Monthly |  |
|  | Period of Honouring Certificates 7 days |  |
|  | Percentage of Certified Value Retained 10% |  |
|  | Limit of Retention Fund 5% |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | KSHS |
| --- | --- | --- |
|  | COLLECTION |  |
|  | Brought forward from page PP/1 |  |
|  | Brought forward from page PP/2 |  |
|  | Brought forward from page PP/3 |  |
|  | Brought forward from page PP/4 |  |
|  | Brought forward from page PP/5 |  |
|  | Brought forward from page PP/6 |  |
|  | Brought forward from page PP/7 |  |
|  | TOTAL FOR PARTICULAR PRELIMINARIES CARRIED TO GRAND SUMMARY |  |

GENERAL PRELIMINARIES

| ITEM | DESCRIPTION |  | K.SHS |
| --- | --- | --- | --- |
|  | GENERAL PRELIMINARIES |  |  |
| A. | PRICING ITEMS OF PRELIMINARIES AND PREAMBLES |  |  |
|  | Prices will be inserted against items of Preliminaries in the Contractor's priced Bills of Quantities and Specification. |  |  |
|  | The Contractor shall be deemed to have included in his prices or rates for the various items in the Bills of Quantities or Specification for all costs involved in complying with all the requirements for the proper execution of the whole of the works in the Contract. |  |  |
| B. | ABBREVIATIONS |  |  |
|  | Throughout these Bills, units of measurement and terms are abbreviated and shall be all the requirements for the proper execution of the whole of the works in the Contract. |  |  |
|  | C.M. Shall mean cubic metre |  |  |
|  | S.M. Shall mean square metre |  |  |
|  | L.M. Shall mean linear metre |  |  |
|  | MM | Shall mean Millimetre |  |
|  | Kg. | Shall mean Kilogramme |  |
|  | No. | Shall mean Number |  |
|  | Prs. | Shall mean Pairs |  |
|  | B.S. - Shall mean the British Standard Specification Published by the British Standards Institution, 2 Park Street, London W.I., England. |  |  |
|  | Ditto - Shall mean the whole of the preceding description except as qualified in the description in which it occurs. |  |  |
|  | m.s. Shall mean measured separately. |  |  |
|  | a.b.d Shall mean as before described. |  |  |
|  | Carried to collection |  |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A. | EXCEPTION TO THE STANDARD METHOD OF MEASUREMENT |  |
|  | Attendance ; Clause B19(a) of the Standard Method of Measurement is deleted and the following clause is substituted:- |  |
|  | Attendance on nominated Sub-Contractors shall be given as an item in each case shall be deemed to include: allowing use of standing scaffolding, mess rooms, sanitary accommodation and welfare facilities; provision of special scaffolding where necessary; providing space for office accommodation and for storage of plant and materials; providing light and water for their work: clearing away rubbish; unloading checking and hoisting: providing electric power and removing and replacing duct covers, pipe casings and the like necessary for the execution and testing of Sub- Contractors' work and being responsible for the accuracy of the same. |  |
|  | Fix Only:- |  |
|  | "Fix Only" shall mean take delivery at nearest railway station (Unless otherwise stated),pay all demurrage charges, load and transport to site where necessary, unload, store,unpack, assemble as necessary, distribute to position, hoist and fix only. |  |
| B. | EMPLOYER |  |
|  | The "Employer" is EMBAKASI EAST NG-CDF. |  |
|  | The term "Employer" and "Government" wherever used in the contract document shall be synonymous |  |
| C. | PROJECT MANAGER |  |
|  | The term "P.M." wherever used in these Bills of Quantities shall be deemed to imply the Project Manager as defined in Condition 1 of the Conditions of Contract or such person or persons as may be duly authorised to represent him on behalf of the Government. |  |
| D. | ARCHITECT |  |
|  | The term "Architect" shall be deemed to mean "The P.M." as defined above whose address unless otherwise notified is Directorate of Public Works, P.O. Box 30260, NAIROBI. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | QUANTITY SURVEYOR |  |
|  | The term "Quantity Surveyor" shall be deemed to mean "The P.M." as defined above whose address unless otherwise notified is Directorate of Public Works, P.O. Box 30260, NAIROBI. |  |
| B | ELECTRICAL ENGINEER |  |
|  | The term "Electrical Engineer" shall be deemed to mean "The P.M." as defined above whose address unless otherwise notified is Directorate of Public Works, P.O. Box 30260, NAIROBI. |  |
| C | MECHANICAL ENGINEER |  |
|  | The term "Mechanical Engineer" shall be deemed to mean "The P.M." as defined above whose address unless otherwise notified is Directorate of Public Works, P.O. Box 30260, NAIROBI. |  |
| D | STRUCTURAL ENGINEER |  |
|  | The term "Structural Engineer" shall be deemed to mean "The P.M." as defined above whose address unless otherwise notified is Directorate of Public Works, P.O. Box 30260, NAIROBI. |  |
| E | FORM OF CONTRACT |  |
|  | The Form of Contract shall be as stipulated in the Republic of Kenya's Standard Tender Document for Procurement of Building Works(2000 Edition) included herein |  |
|  | The Conditions of Contract are also included herein |  |
|  | Conditions of Contract |  |
|  | These are numbered from 1 to 37 as set out in pages 18 to 38 of these tender documents. |  |
|  | Particulars of insertions to be made in the Appendix to the Contract Agreement will be found in the Particular Preliminaries part of these Bills of Quantities |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | BOND. |  |
|  | The Contractor shall find and submit on the Form of Tender an approved bank who will be willing to be bound to the Government in an amount equal to five per cent (5) of the Contract amount for the due performances of the Contract up to the date of completion as certified by the PROJECT MANAGER and who will, when and if called upon, sign a Bond to that effect on the relevant standard form included herein. (without the addition of any limitations) on the same day as the Contract Agreement is signed, by the Government, the Contractor shall furnish within seven days another Surety to the approval of the Government. |  |
| B | PLANT, TOOLS AND VEHICLES |  |
|  | Allow for providing all scaffolding, plant, tools and vehicles required for the works except in so far as may be stated otherwise herein and except for such items specificallyand only required for the use of nominated Sub-Contractors as described herein. No timber used for scaffolding, formwork or temporary works of any kind shall be used afterwards in the permanent work. |  |
| C | TRANSPORT. |  |
|  | Allow for transport of workmen, materials, etc., to and from the site at such hours and by such routes as may be permitted by the competent authorities. |  |
| D | MATERIALS AND WORKMANSHIP. |  |
|  | All materials and workmanship used in the execution of the work shall be of the best quality and description unless otherwise stated. The Contractor shall order all materials to be obtained from overseas immediately after the Contract is signed and shall also ensure they are onsite when required for use in the works. The Bills of Quantities shall not be used for the purpose of ordering materials. |  |
| E | SIGN FOR MATERIALS SUPPLIED. |  |
|  | The Contractor will be required to sign a receipt for all articles and materials supplied by the PROJECT MANAGER at the time of taking deliver thereof, as having received them in good order and condition, and will thereafter be responsible for any loss or damage and for replacements of any such loss or damage with articles and/or materials which will be supplied by the PROJECT MANAGER at the current market prices including Customs Duty and V.A.T., all at the Contractor's own cost and expense, to the satisfaction of the PROJECT MANAGER |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | STORAGE OF MATERIALS |  |
|  | The Contractor shall provide at his own risk and cost where directed on the site weather proof lock-up sheds and make good damaged or disturbed surfaces upon completion to the satisfaction of the PROJECT MANAGER Nominated Sub- Contractors are to be made liable for the cost of any storage accommodation provided especially for their use. |  |
| B | SAMPLES |  |
|  | The Contractor shall furnish at his own cost any samples of materials or workmanship including concrete test cubes required for the works that may be called for by the PROJECT MANAGER for his approval until such samples are approved by the PROJECT MANAGER and the PROJECT MANAGER, may reject any materials or workmanship not in his opinion to be up to approved samples. The PROJECT MANAGER shall arrange for the testing of such materials as he may at his discretion deem desirable, but the testing shall be made at the expense of the Contractor and not at the expense of the PROJECT MANAGER. The Contractor shall pay for the testing in accordance with the current scale of testing charges laid down by the Directorate of Public Works. |  |
|  | The procedure for submitting samples of materials for testing and the method of marking for identification shall be as laid down by the PROJECT MANAGER The Contractor shall allow in his tender for such samples and tests except those in connection with nominated sub-contractors' work. |  |
| C | GOVERNMENT ACTS REGARDING WORKPEOPLE ETC. |  |
|  | Allow for complying with all Government Acts, Orders and Regulations in connection with the employment of Labour and other matters related to the execution of the works. In particular the Contractor's attention is drawn to the provisions of the Factory Act 1950 and his tender must include for all costs arising or resulting from compliance with any Act, Order or Regulation relating to Insurances, pensions and holidays for workpeople or so the safety, health and welfare of the workpeople. |  |
|  | The Contractor must make himself fully acquainted with current Acts and Regulations, including Police Regulations regarding the movement, housing, security and control of labour, labour camps , passes for transport, etc. It is most important that the Contractor, before tendering, shall obtain from the relevant Authority the fullest information regarding all such regulations and/or restrictions which may affect the organisation of the works, supply and control of labour, etc., and allow accordingly in his tender. No claim in respect of want of knowledge in this connection will be entertained. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | SECURITY OF WORKS ETC. |  |
|  | The Contractor shall be entirely responsible for the security of all the works stores, materials, plant, personnel, etc., both his own and sub-contractors' and must provide all necessary watching, lighting and other precautions as necessary to ensure security against theft, loss or damage and the protection of the public. |  |
| B | PUBLIC AND PRIVATE ROADS. |  |
|  | Maintain as required throughout the execution of the works and make good any damage to public or private roads arising from or consequent upon the execution of the works to the satisfaction of the local and other competent authority and the PROJECT MANAGER |  |
| C | EXISTING PROPERTY. |  |
|  | The Contractor shall take every precaution to avoid damage to all existing property including roads, cables, drains and other services and he will be held responsible for and shall make good all such damage arising from the execution of this contract at his own expense to the satisfaction of the PROJECT MANAGER |  |
| D | VISIT SITE AND EXAMINE DRAWINGS. |  |
|  | The Contractor is recommended to examine the drawings and visit the site the location of which is described in the Particular Preliminaries hereof. He shall be deemed to have acquainted himself therewith as to its nature, position, means of access or any other matter which, may affect his tender. No claim arising from his failure to comply with this recommendation will be considered. |  |
| E | ACCESS TO SITE AND TEMPORARY ROADS. |  |
|  | Means of access to the Site shall be agreed with the PROJECT MANAGER prior to commencement of the work and Contractor must allow for building any necessary temporary access roads for the transport of the materials, plant and workmen as may be required for the complete execution of the works including the provision of temporary culverts, crossings, bridges, or any other means of gaining access to the Site. Upon completion of the works, the Contractor shall remove such temporary access roads; temporary culverts, bridges, etc., and make good and reinstate all works and surfaces disturbed to the satisfaction of the PROJECT MANAGER The Contractor should also allow for relocating existing fence (approx. 30 metres long). |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | AREA TO BE OCCUPIED BY THE CONTRACTOR |  |
|  | The area of the site which may be occupied by the Contractor for use of storage and for the purpose of erecting workshops, etc., shall be defined on site by the PROJECT MANAGER |  |
| B | OFFICE ETC. FOR THE PROJECT MANAGER |  |
|  | The Contractor shall provide, erect and maintain where directed on site and afterwards dismantle the site office of the standard type, complete with furniture. He shall also provide a strong metal trunk complete with strong hasp and staple fastening and two keys. He shall provide, erect and maintain a lock-up type water or bucket closet for the sole use of the PROJECT MANAGER including making temporary connections to the drain where applicable to the satisfaction of Government and Medical Officer of Health and shall provide services of cleaner and pay all conservancy charges and keep both office and closet in a clean and sanitary condition from commencement to the completion of the works and dismantle and make good disturbed surfaces. The office and closet shall be completed before the Contractor is permitted to commence the works. The Contractor shall make available on the Site as and when required by the "PROJECT MANAGER" a modern and accurate level together with levelling staff, ranging rods and 50 metre |  |
| C | WATER AND ELECTRICITY SUPPLY FOR THE WORKS |  |
|  | The Contractor shall provide at his own risk and cost all necessary water, electric light and power required for use in the works. The Contractor must make his own arrangements for connection to the nearest suitable water main and for metering the water used. He must also provide temporary tanks and meters as required at his own cost and clear away when no longer required and make good on completion to the entire satisfaction of the PROJECT MANAGER . The Contractor shall pay all charges in connection herewith. No guarantee is given or implied that sufficient water will be available from mains and the Contractor must make his own arrangements for augmenting this supply at his own cost. Nominated Sub--contractors are to be made liable for the cost of any water or electric current used and for any installation provided especially for their own use. |  |
| D | SANITATION OF THE WORKS |  |
|  | The Sanitation of the works shall be arranged and maintained by the Contractor to the satisfaction of the Government and/or Local Authorities, Labour Department and the PROJECT MANAGER |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | SUPERVISION AND WORKING HOURS |  |
|  | The works shall be executed under the direction and to the entire satisfaction in all respects of the PROJECT MANAGER who shall at all times during normal working hours have access to the works and to the yards and workshops of the Contractor and sub-Contractors or other places where work is being prepared for the contract. |  |
| B | PROVISIONAL SUMS. |  |
|  | The term "Provisional Sum" wherever used in these Bills of Quantities shall have the meaning stated in Section A item A7(i) of the Standard Method of Measurement. Such sums are net and no addition shall be made to them for profit. |  |
| C | PRIME COST (OR P.C.) SUMS. |  |
|  | The term "Prime Cost Sum" or "P.C. Sum" wherever used in these Bills of Quantities shall have the meaning stated in Section A item A7 (ii) of the Standard Method of Measurement. Persons or firms nominated by the PROJECT MANAGER to execute work or to provide and fix materials or goods are described herein as Nominated Sub-Contractors. Persons or firms so nominated to supply goods or materials are described herein as Nominated Suppliers. |  |
| D | PROGRESS CHART. |  |
|  | The Contractor shall provide within two weeks of Possession of Site and in agreement with the PROJECT MANAGER a Progress Chart for the whole of the works including the works of Nominated Sub-Contractors ; one copy to be handed to the PROJECT MANAGER and a further copy to be retained on Site. Progress to be recorded and chart to be amended as necessary as the work proceeds. |  |
| C. | ADJUSTMENT OF P.C. SUMS. |  |
|  | In the final account all P.C. Sums shall be deducted and the amount properly expended upon the PROJECT MANAGER'S order in respect of each of them added to the Contract sum. The Contractor shall produce to the PROJECT MANAGER such quotations, invoices or bills, properly receipted, as may be necessary to show the actual details of the sums paid by the Contractor. Items of profit upon P.C. Sums shall be adjusted in the final account pro-rata to the amount paid. Items of "attendance" |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | ADJUSTMENT OF P.C. SUMS. Ctd……. |  |
|  | Should the Contractor be permitted to tender and his tender be accepted of any work for which a P.C. Sum is included in these Bill of Quantities profit and attendance will be allowed at the same rate as it would be if the work were executed by a Nominated Sub-Contractor. |  |
| B | ADJUSTMENT OF PROVISIONAL SUMS. |  |
|  | In the final account all Provisional Sums shall be deducted and the value of the work properly executed in respect of them upon the PROJECT MANAGER's order added to the Contract Sum. Such work shall be valued as described for Variations, but should any part of the work be executed by a Nominated Sub- Contractor, the value of such work or articles for the work to be supplied by a Nominated Supplier, the value of such work or articles shall be treated as a P.C. Sum and profit and attendance comparable to that contained in the priced Bills of Quantities for similar items added. |  |
| C | NOMINATED SUB-CONTRACTORS |  |
|  | When any work is ordered by the PROJECT MANAGER to be executed by nominated sub-contractors, the Contractor shall enter into sub-contracts and shall thereafter be responsible for such sub-contractors in every respect. Unless otherwise described the Contractor is to provide for such Sub-Contractors any or all of the facilities described in these Preliminaries. The Contractor should price for these with the nominated Sub-contract Contractor's work concerned in the P.C. Sums under the description "add for Attendance". |  |
| D | DIRECT CONTRACTS |  |
|  | Notwithstanding the foregoing conditions, the Government reserves the right to place a "Direct Contract" for any goods or services required in the works which are covered by a P.C. Sum in the Bills of Quantities and to pay for the same direct. In any such instances, profit relative to the P.C. Sum the priced Bills of Quantities will be adjusted as described for P.C. Sums and allowed. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | ATTENDANCE UPON OTHER TRADESMEN, ETC. |  |
|  | The Contractor shall allow for the attendance of trade upon trade and shall afford any tradesmen or other persons employed for the execution of any work not included in this Contract every facility for carrying out their work and also for use of his ordinary scaffolding. The Contractor, however, shall not be required to erect any special scaffolding for them. The Contractor shall perform such cutting away for and making good after the work of such tradesmen or persons as may be ordered by the PROJECT MANAGER and the work will be measured and paid for to the extent executed at rates provided in these Bills. |  |
| B | INSURANCE |  |
|  | The Contractor shall insure as required in Clause 30 of the Conditions of Contract. No payment on account of the work executed will be made to the Contractor until he has satisfied the PROJECT MANAGER either by production of an Insurance Policy or and Insurance Certificate that the provision of the foregoing Insurance Clauses have been complied with in all respects. Thereafter the PROJECT MANAGER shall from time to time ascertain that premiums are duly paid up by the Contractor who shall if called upon to do so, produce the receipted premium renewals for the PROJECT MANAGER's inspection. |  |
| C | PROVISIONAL WORK |  |
|  | All work described as "Provisional" in these Bills of Quantities is subject to remeasurement in order to ascertain the actual quantity executed for which payment will be made. All "Provisional" and other work liable to adjustment under this Contract shall left uncovered for a reasonable time to allow all measurements needed for such adjustment to be taken by the PROJECT MANAGER Immediately the work is ready for measuring, the Contractor shall give notice to the PROJECT MANAGER. If the Contractor makes default in these respects he shall if the PROJECT MANAGER so directs uncover the work to enable all measurements to be taken and afterwards reinstate at his own expense. |  |
| D | ALTERATIONS TO BILLS, PRICING, ETC. |  |
|  | Any unauthorised alteration or qualification made to the text of the Bills of Quantities may cause the Tender to be disqualified and will in any case be ignored. The Contractor shall be deemed to have made allowance in his prices generally to cover any items against which no price has been inserted in the priced Bills of Quantities. All items of measured work shall be priced in detail and the Tenders containing Lump Sums to cover trades or groups of work must be broken down to show the price of each item before they will be accepted. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A | BLASTING OPERATIONS |  |
|  | Blasting will only be allowed with the express permission of the PROJECT MANAGER in writing. All blasting operations shall be carried out at the Contractor's sole risk and cost in accordance with any Government regulations in force for the time being, and any special regulations laid down by the PROJECT MANAGER governing the use and storage of explosives. |  |
| B | MATERIALS ARISING FROM EXCAVATIONS |  |
|  | Materials of any kind obtained from the excavations shall be the property of the Government. Unless the PROJECT MANAGER directs otherwise such materials shall be dealt with as provided in the Contract. Such materials shall only be used in the works, in substitution of materials which the Contractor would otherwise have had to supply with the written permission of the PROJECT MANAGER Should such permission be given, the Contractor shall make due allowance for the value of the materials so used at a price to be agreed. |  |
| C | PROTECTION OF THE WORKS. |  |
|  | Provide protection of the whole of the works contained in the Bills of Quantities, including casing , casing up, covering or such other means as may be necessary to avoid damage to the satisfaction of the PROJECT MANAGER and remove such protection when no longer required and make good any damage which may nevertheless have been done at completion free of cost to the Government. |  |
| D | REMOVAL OF RUBBISH ETC. |  |
|  | Removal of rubbish and debris from the Buildings and site as it accumulates and at the completion of the works and remove all plant, scaffolding and unused materials at completion. |  |
| E | WORKS TO BE DELIVERED UP CLEAN |  |
|  | Clean and flush all gutters, rainwater and waste pipes, manholes and drains, wash (except where such treatment might cause damage) and clean all floors, sanitary fittings, glass inside and outside and any other parts of the works and remove all marks, blemishes, stains and defects from joinery, fittings and decorated surfaces generally, polish door furniture and bright parts of metalwork and leave the whole of the buildings watertight, clean, perfect and fit for occupation to the approval of the PROJECT MANAGER |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
| A. | GENERAL SPECIFICATION. |  |
|  | For the full description of materials and workmanship, method of execution of the work and notes for pricing, the Contractor is referred to the Ministry of Roads, Public Works and Housing General Specification dated 1976 or any subsequent revision thereof which is issued as a separate document, and which shall be allowed in all respects unless it conflicts with the General Preliminaries, Trade Preambles or other items in these Bills of Quantities. |  |
| B. | TRAINING LEVY |  |
|  | The Contractor's attention is drawn to legal notice No. 237 of October, 1971, which requires payment by the Contractor of a Training Levy at the rate of 1/4 % of the Contract sum on all contracts of more than Kshs. 50,000.00 in value. |  |
| C. | MATERIALS ON SITE |  |
|  | All materials for incorporation in the works must be stored on or adjacent to the site before payment is effected unless specifically exempted by the PROJECT MANAGER. This includes the materials of the Main Contractor, Nominated Sub-Contractors and Nominated Suppliers. |  |
| D. | HOARDING |  |
|  | The Contractor shall enclose all the site under construction with a hoarding 2400 mm high consisting of iron sheets gauge 30 on 100 x 50 mm 2nd grade treated sawn cypress timber posts firmly secured at 1800 mm centres with two 75 x 50 mm 2nd grade treated sawn cypress timber rails. The Contractor is in addition required to take all precautions necessary for the safe custody of the works, materials, plant, public and Employer's property on the site. |  |
| E. | CONTRACTOR'S SUPERINTENDENCE/SITE AGENT |  |
|  | The Contractor shall constantly keep on the works a literate English speaking Agent or Representative, competent and experienced in the kind of work involved who shall give his whole experience in the kind of work involved and shall give his whole time to the superintendence of the works. Such Agent or Representative shall receive on behalf of the Contractor all directions and instructions from the Project Manager and such directions shall be deemed to have been given to the Contractor in accordance with the Conditions of Contract. |  |
|  | Carried to collection |  |

| ITEM | DESCRIPTION | K.SHS |
| --- | --- | --- |
|  | COLLECTION |  |
|  | Brought Forward From Page GP/ 1 |  |
|  | Brought Forward From Page GP/ 2 |  |
|  | Brought Forward From Page GP/ 3 |  |
|  | Brought Forward From Page GP/ 4 |  |
|  | Brought Forward From Page GP/ 5 |  |
|  | Brought Forward From Page GP/ 6 |  |
|  | Brought Forward From Page GP/ 7 |  |
|  | Brought Forward From Page GP/ 8 |  |
|  | Brought Forward From Page GP/ 9 |  |
|  | Brought Forward From Page GP/ 10 |  |
|  | Brought Forward From Page GP/ 11 |  |
|  | Brought Forward From Page GP/ 12 |  |
|  | TOTAL FOR GENERAL PRELIMINARIES CARRIED TO GRAND SUMMARY |  |

12No. Classrooms

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | ELEMENT NO. 1 |  |  |  |  |
|  | ROOFING |  |  |  |  |
| A | Demolition of existing roof covering in ASBESTOS ROOFING SHEETS and proper disposal as per NEMA guidelines and allow for disposal to approved dump site by NEMA. | 130 | SM |  |  |
| B | Approved IT5 roofing sheets laid in accordance to pertinant drawings | 130 | SM |  |  |
| C | Ridge cap and hip cap to match roof covering | 10 | LM |  |  |
|  | TRUSSES |  |  |  |  |
|  | ALL PROVISIONAL |  |  |  |  |
|  | The following Roof trusses in first grade pressure impregnated sawn cypress including hoisting and placing in position. |  |  |  |  |
| D | 150 x 50mm Rafters | - | LM |  |  |
| E | Ditto tie beams | - | LM |  |  |
| F | Ditto valley rafters | - | LM |  |  |
| G | 150 x 50mm struts and ties | - | LM |  |  |
| H | 100 x 50mm purlins | 160 | LM |  |  |
| J | 25 x 150 mm collar splice | - | LM |  |  |
|  | Eaves |  |  |  |  |
| K | 50 x 50mm second grade celcured and well seasoned cypress timber brandering | 88 | LM |  |  |
| L | Ditto but plugged | 44 | LM |  |  |
| M | Coffee tray tacked | 26 | SM |  |  |
|  | Carried to Collection |  |  |  |  |

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | ROOFING - (CONTINUED) |  |  |  |  |
|  | Fascia Board |  |  |  |  |
| A | 250 x 25 mm thick wrot cypress fascia and barge boards fixed to end of rafters (m/s) | 44 | LM |  |  |
|  | Rain water goods |  |  |  |  |
|  | Gutters |  |  |  |  |
| B | 150 x 100mm galvanized iron gutter gauge 24 fixed to fascia boards (m/s) with and including approved steel brackets at 1000mm centres | 20 | LM |  |  |
|  | Downpipe |  |  |  |  |
| C | 100 mm diameter galvanized iron downpipe gauge 24 fixed to wall with and including holder butts at 1000mm centres | 6 | LM |  |  |
| D | Extra over downpipe for swanneck 1200mm long | 1 | NO |  |  |
| E | Ditto horse shoe 500 mm long | 1 | NO |  |  |
|  | Carried to Collection |  |  |  |  |

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | Decoration and painting |  |  |  |  |
|  | Knot, stain prepare and apply three coats gloss oil paint to: |  |  |  |  |
| A | General surfaces of timber | 26 | SM |  |  |
| B | Surfaces of timber 200-300mm girth | 44 | LM |  |  |
| C | General surfaces of metal gutters | 20 | LM |  |  |
| D | Surfaces of large pipes | 8 | LM |  |  |
|  | Carried to Collection |  |  |  |  |

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | COLLECTION |  |  |  |  |
|  | FROM PAGE 2/1 |  |  |  |  |
|  | FROM PAGE 2/2 |  |  |  |  |
|  | FROM PAGE 2/3 |  |  |  |  |
|  | TOTAL FOR ELEMENT NO. 1 CARRIED TO |  |  |  |  |
|  | (ROOFING) SUMMARY |  |  |  |  |

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | ELEMENT NO. 2 |  |  |  |  |
|  | WINDOWS |  |  |  |  |
|  | Glazing |  |  |  |  |
|  | 6mm Thick clear sheet glass panes over 0.1 but not exceeding 0.5 square meters; fixing with putty |  |  |  |  |
| A |  | 12 | SM |  |  |
|  | Prepare and apply THREE coatS of oil paint to:- |  |  |  |  |
| B | General surface of metal | 51 | SM |  |  |
|  | TOTAL FOR ELEMENT NO. 2 CARRIED TO |  |  |  |  |
|  | (WINDOWS) SUMMARY |  |  |  |  |

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | ELEMENT NO. 4 |  |  |  |  |
|  | INTERNAL FINISHES |  |  |  |  |
|  | CEILING FINISHES |  |  |  |  |
| A | 50 X 50mm celcured cypress timber brandering | 255 | LM |  |  |
| B | Ditto but plugged | 45 | LM |  |  |
| C | 10mm thick gypsum ceiling nailed to timber brandering (m/s) | 90 | SM |  |  |
| D | Extra over celotex ceiling for trap door size 600 x 450mm wide comprising with and including 50 x 50mm timber framing | 1 | NO |  |  |
| E | 100 x 25mm Thick wrot softwood moulded cornice | 45 | LM |  |  |
|  | Sand, stain, prepare and apply three coats of plastic emulsion paint to timber surfaces |  |  |  |  |
| F | Dittto general surfaces of timber | 90 | SM |  |  |
| G | Timber surfaces not exceeding 100mm girth | 45 | LM |  |  |
| H | Allow a provisiona sum of Kenya Shillings THIRTY THOUSAND for electrical works | 1 | Item |  |  |
|  | Carried to Collection |  |  |  |  |

| ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| A | INTERNAL FINISHES - (CONTINUED) | 108 | SM |  |  |
|  | WALL FINISHES |  |  |  |  |
|  | Prepare and apply three coats first grade plastic emulsion paint to: |  |  |  |  |
|  | Plastered walls surfaces |  |  |  |  |
|  | COLLECTION |  |  |  |  |
|  | FROM PAGE 2/6 |  |  |  |  |
|  | FROM ABOVE |  |  |  |  |
|  | TOTAL FOR ELEMENT NO. 4 CARRIED TO |  |  |  |  |
|  | (INTERNAL FINISHES) SUMMARY |  |  |  |  |

| ITEM | DESCRIPTION | PAGE |  |  | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | SECTION SUMMARY |  | X 12 |  |  |
| 3 | ROOF FROM PAGE ……………………………………...…... | 2/4 |  |  |  |
| 3 | WINDOWS FROM PAGE …………………………………….. | 2/5 |  |  |  |
| 2 | INTERNAL FINISHES FROM PAGE ………………………… | 2/7 |  |  |  |
|  | TOTAL FOR 1NO. CLASSROOM |  |  |  |  |
|  | MULTIPLY BY 12NO. CLASSROOMS |  |  |  |  |
|  | TOTAL FOR 12NO. CLASSROOMS CARRIED GRAND SUMMARY |  |  |  |  |

GRAND SUMMARY

PROPOSED RE-ROOFING OF 12NO CLASSROOMS AT EDELVELE PRIMARY SCHOOL - NAIROBI

GRAND SUMMARY

| ITEM | DESCRIPTION | TENDERER'S AMOUNT | OFFICIAL USE ONLY |
| --- | --- | --- | --- |
| 1 | Particular Preliminaries from page. PP/9 |  |  |
| 2 | General Preliminaries from page. GP/13 |  |  |
| 3 | 12No. Classroom from page… 2/8 |  |  |
|  | TOTAL CARRIED TO FORM OF TENDER |  |  |

Amount of tender in words: Kenya Shilings……………………………………………………………

…………………………………………………………………………………………………………… Tenderer's signature and stamp………………………………………………………………………… Address…………………………………………………………………………………………………… Date……………………………………………………………………………………………………… Witness: Name and signature…………………………………………………………………………… Address…………………………………………………………………………………………………… Date………………………………………………………………………………………………………

GS1